## Full Protocol
| Exon-capture Lab Procedure |  | Reagent |  | V/sample (μL) | n= | 12 | 16 | 32 | 64 | CUSTOM VALUE
| (Adapted from methods developed by Chenhong Li Lab (Shanghai Ocean University) and MyBaits user manuals v3 and v4) |  | Supply List
| used by Calder Atta (2018) |  | Reagent | Volume (μL) per | Volume (μL) |  | Used | Supplied | Need | Left | Notes
| Baits: 4434 Markers developed by Jiang et al. 2017 (for all Actinopterygii) |  |  | sample | per sample
|  |  | Supplied in MyBaits Kit (meant for 48 RXNs) |  |  | RXNs= | 28 | 48 | 252 | 20
| ***Use the yellow cells in top right to calculate reagent volumes for mixtures. |  | Hyb N = 19.46X SSPE, 13.5mM EDTA | 18.5 | - |  | 407 | 500 | 1933.25 | 93
| Note: This method does not work with ancient DNA or samples with DNA fragments < 100bp |  | Hyb D = 50X Denhardt's Solution | 7 | 7 |  | 154 | 190 | 731.5 | 36 | 700 uL in old vial Hyb #3, need to test
|  |  | Hyb S = 10% SDS | 9.88 | - |  | 217.36 | 750 | 1032.46 | 532.64
< SET UP >============================================================================================ |  |  | Hyb R = RNAsecure | 2.5 | - |  | 55 | 70 | 261.25 | 15 | have almost 250uL in SUPERase
|  |  | Block A = Adapter-specific blocking oligos, 1ug/uL | 1 | 1 |  | 22 | 30 | 104.5 | 8 | TruSeq-style adapters with single 8bp indexing
| Extract DNA >>> See lab protocol for extracting DNA (Qiagen Blood & Tissue kit). |  | Block C = Human C0t-1 DNA, 1μg/μL | 5 | 5 |  | 110 | 730 | 522.5 | 620 | 130uL from MyBaits, 600uL new in freezer, ~200uL in old vial
|  |  | Block O = Salmon sperm DNA, 1μg/μL | 5 | 5 |  | 110 | 130 | 480 | 20 | 125 uL in vial Block #2, not sure how old
| Quantify >>> See lab protocol for measuring concentration using Qubit 2.0 Fluorometer. |  | Baits | 1 | 1 |  | 27 | 300 | 104.5 | 273
|  | ***Don't use any samples that have less than 500ng after extraction. | MyOne C1 Dynabeads | 60 | - |  | 73 | 1600 | 6720 | 1527
|  |  | Binding Buffer (1M NaCl, 10mM Tris-HCl (pH 7.5), 1mM EDTA) | 1340 | - |  | 37520 | 36000 | 140030 | 4500
| Dilution |  | Wash Buffer (0.1X SSC, 0.1% SDS, 1mM EDTA) | 222 | - |  | 4551 | 60000 | 24864 | 55449
|  | 1. Dilute samples to be equimolar to sample with lowest concentration in 120μL. | Other Reagents
|  | ***This doesn't need to be extact. I used 4 different dilution factors. | 10mM Tris-Cl, 0.05% TWEEN-20 (from MERLAB) | 60 | - |  | 780 | AMPLE | 6780 | AMPLE
|  |  | KAPA HiFitaq Ready Mix (2´) | 50 | 50 |  | 700 | 6250 | 5600 | 5550
| Run Gel >>> See lab protocol for running agarose gel electrophoresis. |  | Primer IS4 (10 μM) | 1 | 1 |  | 29 | ??? | 112 | ???
|  |  | Primer IS7 (10 μM) | 1.5 | 1.5 |  | 19.5 | ??? | 168 | ???
< LIBRARY PREP >===================================================================================== |  |  | Primer IS8 (10 μM) | 1.5 | 1.5 |  | 19.5 | ??? | 168 | ???
|  |  | Index Primer | 1 | 1 |  | 1 | ??? | 1 | ???
| I. Shearing the genomic DNA |  | AMPure XP Beads | 0 | 0 |  | 0 | ??? | 0 | 600
|  | 1. Shear samples to 400 - 500bp using Bioruptor (dial turned left, 1 cycle = 30s on / 30s off). | 20% PEG | 0 | 0 |  | 0 | 59125 | 0 | 59125
|  | Large DNA fragments (> 2000bp): (30s on / 30s off) x 10 cycles | 70% EtOH | 0 | 0 |  | 0 | MAKE | 0 | MAKE
|  | Med DNA fragments (600 - 2000bp): (30s on / 30s off) x 5 cycles | H2O | 907.12 | 907.12 |  | 12699.68 | AMPLE | 101597.44 | AMPLE
|  | Small DNA fragments (< 600bp): (30s on / 30s off) x 0 cycles | Can be used to make or replace reagents above
|  | ***Aim for slightly under 500bp, but absolutely no less than 300pb. | 20X SSPE Buffer | - | 18.0005 |  | 0 | 1000000 | 2016.056 | 1000000
|  |  | 10% SDS | - | 10.102 |  | 0 | MAKE | 1131.424 | MAKE
| II. SPRY Bead Cleanup ("Size-select") |  | 0.5M EDTA (from MERLAB) | - | 3.6235 |  | 0 | AMPLE | 405.832 | AMPLE
|  | 1. Add 50μL AMPure beads to 0.2mL tube strips. Pellet beads (5min). Discard supernatant. | SUPERase·In (20U/μL) | - | 2.5 |  | ??? | 125 | 280 | <125 | nearly all still there, 125uL coming in the mail, switch to RNAsecure after using
|  | 2. Add 50μL sample and 25μL 20% PEG. Vortex. | M-270 Streptavidin Dynabeads (#653-06) | - | 60 |  | ??? | 10000 | 6720 | ??? | > half of bottle left, but old
|  | ***PEG amount is based on solution vol.; in this case 50% of the vol. it is being added to. | 20X SSC Buffer | - | 1.11 |  | 0 | 500000 | 139.86 | 500000
|  | ***The % is set for each new batch of 20%PEG soln. using a ladder test for desired size range. | 1M NaCl | - | from solid |  | 0 | MAKE | ??? | MAKE
|  | 3. Let tubes set for 10 min. Centrifuge. Pellet beads (5-10 min). Discard supernatant. | 1M Tris-Cl (pH 8.0) (from MERLAB) | - | 14 |  | 0 | AMPLE | 1764 | AMPLE
|  | 4. Add 186 μL 70% ethanol. After 1 min, discard supernatant. | TWEEN-20 | - | 0.3 |  | 0 | AMPLE | 37.8 | AMPLE | 400uL w/ 10% in old vial
|  | ***Keep tube on magnetic rack, do not disturb the beads!!! | ***Used in or replaces another reagent
5. Repeat Step 4.
|  | 6. Remove residual traces of ethanol. Air-dry beads for 5 min at room temperature without cap. | Reagent |  | Volume (μL)
|  | *** Proceed to next step immediately. | AMPure XP Beads |  | 50
|  | 7. (Skip; only do later if stated) Elute samples: Add 20μL H2O. Vortex. Centrifuge. Pellet beads (5 min). | 20% PEG |  | 25
|  | ***Samples can be kept frozen after this step 7. | 70% EtOH |  | 372
|  |  | H2O (for elution only) |  | 20
III. Blunt-end Repair
|  | 1. Prepare master mix in a vial. Vortex. Centrifuge. | Blunt-end Repair |  | use n+1
|  | 2. Aliquot 20μL into tube strips with samples + beads. Vortex. Centrifuge. | Reagent | Final concentration | Volume (μL) | n= | 13 | 17 | 33 | 65 | #VALUE!
|  | 3. Incubate: Place in thermocycler. Start thermal program: |  | in 20-μL reaction | per sample
|  | 25°C - 12°C - 12°C | Buffer Tango (10´) | 1´ | 2 |  | 26 | 34 | 66 | 130 | #VALUE!
|  | 15min - 5min - ∞ (20min) | dNTPs (25 mM each) | 100 μM each | 0.08 |  | 1.04 | 1.36 | 2.64 | 5.2 | #VALUE!
|  |  | ATP (100 mM) | 1 mM | 0.2 |  | 2.6 | 3.4 | 6.6 | 13 | #VALUE!
| SPRY Bead Cleanup (use 10μL 20% PEG) |  | T4 polynucleotide kinase (10 U/μL) | 0.5 U/μL | 1 |  | 13 | 17 | 33 | 65 | #VALUE!
|  |  | T4 DNA polymerase (5 U/μL) | 0.1 U/μL | 0.4 |  | 5.2 | 6.8 | 13.2 | 26 | #VALUE!
| IV. Adapter Ligation |  | H2O |  | 16.32 |  | 212.16 | 277.44 | 538.56 | 1060.8 | #VALUE!
|  | 1. Prepare master mix in a vial. Vortex. Centrifuge. | Total Volume |  | 20 |  | 260 | 340 | 660 | 1300 | #VALUE!
|  | 2. Aliquot 39μL into tube strips with samples + beads. Vortex. Centrifuge. | ***With 10mM dNTP, per-sample volume is now 0.2, and 16.2 water
3. Add 1μL T4 DNA ligase (5 U/μL) to each sample. Vortex. Centrifuge.
|  | 4. Incubate: Place in thermocycler. Start thermal program: | Adapter ligation |  | use n+1
|  | 22°C - 15°C | Reagent | Final concentration | Volume (μL) | n= | 13 | 17 | 33 | 65 | #VALUE!
|  | 30min - ∞ (30min) |  | in 40-μL reaction | per sample
|  |  | T4 DNA ligase buffer (10´) | 1´ | 4 |  | 52 | 68 | 132 | 260 | #VALUE!
| SPRY Bead Cleanup (use 20μL 20% PEG) |  | PEG-4000 (50%) | 5% | 4 |  | 52 | 68 | 132 | 260 | #VALUE!
|  |  | Adapter mix (50 μM each) | 2.5 μM each | 2 |  | 26 | 34 | 66 | 130 | #VALUE!
| V. Fill-in |  | H2O |  | 29 |  | 377 | 493 | 957 | 1885 | #VALUE!
|  | 1. Prepare master mix in a vial. Vortex. Centrifuge. | Total Volume (master mix) |  | 39 |  | 507 | 663 | 1287 | 2535 | #VALUE!
|  | 2. Aliquot 40μL into tube strips with samples + beads. Vortex. Centrifuge. | T4 DNA ligase (5U/μL) |  | 1
|  | 3. Incubate: Place in thermocycler. Start thermal program: | Total Volume (final) |  | 40
37°C - 15°C
|  | 20min - ∞ (20min) | Fill-in |  | use n+1
|  |  | Reagent | Final concentration | Volume (μL) | n= | 13 | 17 | 33 | 65 | #VALUE!
| SPRY Bead Cleanup (use 20μL 20% PEG) + Elution (Step 7) |  |  | in 40-μL reaction | per sample
|  |  | ThermoPol reaction buffer (BSM buffer 10´) | 1´ | 4 |  | 52 | 68 | 132 | 260 | #VALUE!
| Run Gel >>> See lab protocol for running agarose gel electrophoresis. |  | dNTPs (25 mM each) | 250 μM each | 0.4 |  | 5.2 | 6.8 | 13.2 | 26 | #VALUE!
|  |  | Bst polymerase (Bsm polymerase), large fragment (8 U/μL) | 0.3 U/μL | 1.5 |  | 19.5 | 25.5 | 49.5 | 97.5 | #VALUE!
| VI. Pre-hybridization PCR |  | H2O |  | 34.1 |  | 443.3 | 579.7 | 1125.3 | 2216.5 | #VALUE!
|  | 1. Prepare master mix in a vial. Vortex. Centrifuge. | Total Volume |  | 40 |  | 520 | 680 | 1320 | 2600 | #VALUE!
|  | 2. Aliquot 44μL into 0.2mL tube strips. Vortex. Centrifuge. | ***With 10mM dNTP, per-sample volume is now 1.0, and 33.5 water
3. Add 6μL sample to each tube. Vortex. Centrifuge.
|  | 4. Amplify: Place in thermocycler. Start thermal program: | Pre-hybridization PCR |  | use n+1
|  | 98°C / 98°C - 65°C - 72°C \ x 12-18 - 72°C - 4°C - 50°C | Reagent | Final concentration | Volume (μL) | n= | 13 | 17 | 33 | 65 | #VALUE!
|  | 45sec \ 15sec - 30sec - 45sec / cycles - 1min - 10min - ∞ (30 - 40min) |  | in 50-μL reaction | per sample
|  |  | KAPA HiFitaq Ready Mix (2´) | 1´ | 25 |  | 325 | 425 | 825 | 1625 | #VALUE!
| SPRY Bead Cleanup (use 25μL 20% PEG) + Elution (Step 7) |  | Primer IS7 (10 μM) | 0.3μM | 1.5 |  | 19.5 | 25.5 | 49.5 | 97.5 | #VALUE!
|  |  | Primer IS8 (10 μM) | 0.3μM | 1.5 |  | 19.5 | 25.5 | 49.5 | 97.5 | #VALUE!
| Run Gel >>> See lab protocol for running agarose gel electrophoresis. |  | H2O |  | 16 |  | 208 | 272 | 528 | 1040 | #VALUE!
|  | ***Run fill-in product and PCR product side-by-side. PCR product should be much brighter. | Total Volume (master mix) |  | 44 |  | 572 | 748 | 1452 | 2860 | #VALUE!
|  |  | Sample |  | 6
| Quantify >>> See lab protocol for measuring concentration using Qubit 2.0 Fluorometer. |  | Total Volume (final) |  | 50
<<< Expand to see old Capture protocol
Master Mix Old
|  |  | Reagent |  | Volume (μL) per sample | n= | 13 | 17 | 33 | 65 | #VALUE!
|  |  | Block#1/Human Cot1 (1 μg/μL) |  | 2.5 |  | 32.5 | 42.5 | 82.5 | 162.5 | #VALUE!
|  |  | BO1.P5.F |  | 0.08 |  | 1.04 | 1.36 | 2.64 | 5.2 | #VALUE!
|  |  | BO3.P7.part1.F |  | 0.08 |  | 1.04 | 1.36 | 2.64 | 5.2 | #VALUE!
|  |  | Total Volume |  | 2.66 |  | 34.58 | 45.22 | 87.78 | 172.9 | #VALUE!
Hybridization Master Mix Old
|  |  | Reagent |  | Volume (μL) per sample | n= | 13 | 17 | 33 | 65 | #VALUE!
|  |  | HYB#1/20X SSPE |  | 10 |  | 130 | 170 | 330 | 650 | #VALUE!
|  |  | HYB#2/0.5 M EDTA |  | 0.4 |  | 5.2 | 6.8 | 13.2 | 26 | #VALUE!
|  |  | HYB#3/50´Denhardt’s |  | 4 |  | 52 | 68 | 132 | 260 | #VALUE!
|  |  | HYB#4/1% SDS |  | 4 |  | 52 | 68 | 132 | 260 | #VALUE!
|  |  | Total Volume |  | 18.4 |  | 239.2 | 312.8 | 607.2 | 1196 | #VALUE!
Bait Mix Old
|  |  | Reagent |  | Volume (μL) per sample | n= | 13 | 17 | 33 | 65 | #VALUE!
|  |  | SUPERase•In (20U/μl) |  | 1 |  | 13 | 17 | 33 | 65 | #VALUE!
|  |  | RNA Baits (MYselect) |  | 0.5 |  | 6.5 | 8.5 | 16.5 | 32.5 | #VALUE!
|  |  | H2O |  | 4.5 |  | 58.5 | 76.5 | 148.5 | 292.5 | #VALUE!
|  |  | Total Volume |  | 6 |  | 78 | 102 | 198 | 390 | #VALUE!
< GENE - CAPTURE >=================================================================================== |  |  | Hybridization Mix (HYB) (Adjusted for 0.5uL Baits) |  | pipette error adusted
|  |  | Reagent |  | Volume (μL) | n= | 12 | 16 | 32 | 64 | CUSTOM VALUE
| VII. Hybridization and Blockers Mix Set Up |  |  |  | per sample
|  | 1. Prepare HYB mixture in a vial. | Hyb N = 19.46X SSPE (9μL), 13.5mM EDTA (0.25μL) |  | 9.25 |  | 111 | 148 | 296 | 592 | #VALUE!
|  | 2. Heat mixture on 60°C for 10min then room temp for 5min. | Hyb D = 50X Denhardt's Solution |  | 3.5 |  | 42 | 56 | 112 | 224 | #VALUE!
|  | 3. Aliquot 18.5μL into 0.2mL tube strips. | Hyb S = 10% SDS |  | 0.5 |  | 6 | 8 | 16 | 32 | #VALUE!
|  | 4. Prepare LIB mixture in a vial. | Hyb R = RNAsecure |  | 1.25 |  | 15 | 20 | 40 | 80 | #VALUE!
|  | 5. Aliquot 5μL into 0.2mL tube strips. | Baits |  | 0.5 |  | 6 | 8 | 16 | 32 | #VALUE!
|  | 6. Add 7μL of sample into 0.2mL tube strips with LIB mixture. | H2O |  | 5 |  | 60 | 80 | 160 | 320 | #VALUE!
|  |  | Total Volume |  | 20 |  | 240 | 340 | 660 | 1300 | #VALUE!
| VIII. Hybridization |  | ***Hyb N can be substituted with 9uL 20X SSPE and 0.25uL 0.5M EDTA per sample.
|  | 1. Place LIB mixture in thermocycler. | ***Hyb R can be substituted with SUPERase (which doesn't need to be incubated, but still do to dissolve SDS)
2. Touch-down Incubation: Start thermal program:
|  | 95°C - 65°C - 65°C - 60°C - 55°C - 50°C - 50°C | Blockers Mix (LIB) |  | pipette error adusted
|  | 5min - 5min - 11hr - 11hr - 11hr - 11hr - ∞ (44hr 10min ≈ 2 days) | Reagent |  | Volume (μL) | n= | 12 | 16 | 32 | 64 | CUSTOM VALUE
|  | 3. After Step 1, place HYB mixture thermocycler. |  |  | per sample
|  | 4. After Step 2, transfer 18μL HYB mixture into LIB mixture. | Block A = Adapter-specific blocking oligos, 1ug/uL |  | 0.5 |  | 6 | 8 | 16 | 32 | #VALUE!
|  | ***Final Mixture = 5μL LIB + 7μL sample + 18μL HYB | Block C = Human C0t-1 DNA, 1μg/μL |  | 2.5 |  | 30 | 40 | 80 | 160 | #VALUE!
|  |  | Block O = Salmon sperm DNA, 1μg/μL |  | 2.5 |  | 30 | 40 | 80 | 160 | #VALUE!
| IX. Bind and Wash ("Cleanup") |  | Total Volume |  | 5.5 |  | 66 | 88 | 176 | 352 | #VALUE!
|  | 1. Prepare Wash Buffer X in a vial. Vortex. | ***Block A can be substituted with 0.08uL each BO1 and BO3 and 0.34 H2O
2. Aliquot 180μL into 0.2mL tube strips (3 tubes per sample).
|  | 3. Heat mixture on 65°C for at least 30min. | Wash Buffer X |  | pipette error adusted
|  | 4. Add 30μL MyOne C1 Dynabeads into 0.2mL tube trips. LABEL = "sample name + CAP" | Reagent | Mixture in | Volume (μL) | n= | 12 | 16 | 32 | 64 | CUSTOM VALUE
|  | 5. Pellet beads (5min). Discard supernatant. |  | Protocol (μL) | per sample
|  | 6. Add 200μL Binding Buffer, vortex, centrifuge, pellet beads (5min), discard supernatant. (x3) | Wash Buffer (0.1X SSC, 0.1% SDS, 1mM EDTA) | 10000 | 111 |  | 1332 | 1776 | 3552 | 7104 | #VALUE!
|  |  | Hyb S = 10% SDS | 400 | 4.44 |  | 53.28 | 71.04 | 142.08 | 284.16 | #VALUE!
|  | 7. Add 70μL Binding Buffer. | H2O | 39600 | 439.56 |  | 5274.72 | 7032.96 | 14065.92 | 28131.84 | #VALUE!
|  | 8. Heat beads on 65°C for at least 2min. | Total Volume | 50000 | 555 |  | 6660 | 8880 | 17760 | 35520 | #VALUE!
|  | 9. Transfer HYB-LIB mixture to beads. | ***With 1% SDS, per-sample volume is now 44.4, and 399.6 water (originally 4.44 and 439.56 respectively)
10. Incubate on 65°C (5min), pellet beads (5min), discard supernatant.
|  | 11. Add 180μL Wash Buffer X. Vortex. Centrifuge. Incubate on 65°C (5min). Pellet beads (5min). Discard supernatant. (x3) | Reagent |  | Volume (μL) |  | To make 150mL Binding Buffer:
|  | 12. Add 30μL 10mM Tris-Cl, 0.05% TWEEN-20. | MyOne C1 Dynabeads |  | 30 |  | 1.5mL 1M Tris-HCl
|  |  | Binding Buffer (1M NaCl, 10mM Tris-HCl (pH 7.5), 1mM EDTA) |  | 670 |  | 30mL 5M NaCl
| !!! Skip to Step X if NOT doing double-capture !!! |  | 10mM Tris-Cl, 0.05% TWEEN-20 |  | 30 |  | 1.5mL 0.1M EDTA
| Pre-hybridization PCR (follow different mixture for double-capture) |  | Pre-hybridization PCR (for double-capture) |  | use n+1
|  |  | Reagent |  | Volume (μL) | n= | 13 | 17 | 33 | 65 | #VALUE!
| SPRY Bead Cleanup (use 25μL 20% PEG) + Elution (Step 7) |  |  |  | per sample
|  |  | KAPA HiFitaq Ready Mix (2´) | 1´ | 25 |  | 325 | 425 | 825 | 1625 | #VALUE!
| Run Gel >>> See lab protocol for running agarose gel electrophoresis. |  | Primer IS7 (10 μM) | 0.3μM | 1.5 |  | 19.5 | 25.5 | 49.5 | 97.5 | #VALUE!
|  |  | Primer IS8 (10 μM) | 0.3μM | 1.5 |  | 19.5 | 25.5 | 49.5 | 97.5 | #VALUE!
| Hybridization and Blockers Mix Set Up |  | H2O |  | 7 |  | 91 | 119 | 231 | 455 | #VALUE!
|  |  | Total Volume (master mix) |  | 35 |  | 455 | 595 | 1155 | 2275 | #VALUE!
| Hybridization |  | Sample |  | 15
|  |  | Total Volume (final) |  | 50
Bind and Wash
|  |  | Index PCR |  | use n+1
| X. Post-hybridization Indexing PCR |  | Reagent |  | Volume (μL) | n= | 13 | 17 | 33 | 65 | #VALUE!
|  | 1. Prepare master mix in a vial. Vortex. Centrifuge. |  |  | per sample
|  | 2. Aliquot 34μL into 0.2mL tube strips. Vortex. Centrifuge. | KAPA HiFitaq Ready Mix (2´) | 1´ | 25 |  | 325 | 425 | 825 | 1625 | #VALUE!
|  | 3. Add 15μL sample to each tube. Vortex. Centrifuge. | Primer IS4 (10 μM) | 0.2μM | 1 |  | 13 | 17 | 33 | 65 | #VALUE!
|  | 4. Amplify: Place in thermocycler. Start thermal program: | H2O |  | 8 |  | 104 | 136 | 264 | 520 | #VALUE!
|  | 98°C / 98°C - 65°C - 72°C \ x 12-18 - 72°C - 4°C - 50°C | Total Volume (master mix) |  | 34 |  | 442 | 578 | 1122 | 2210 | #VALUE!
|  | 45sec \ 15sec - 30sec - 45sec / cycles - 1min - 10min - ∞ (30 - 40min) | Sample |  | 15
|  |  | Indexing Primer |  | 1
| SPRY Bead Cleanup (use 25μL 20% PEG) + Elution (Step 7); LABEL = "sample name + CAP" |  | Total Volume (final) |  | 50
Run Gel >>> See lab protocol for running agarose gel electrophoresis.
Quantify >>> See lab protocol for measuring concentration using Qubit 2.0 Fluorometer.
***Concentration Should be around 0.1 - 0.9 ng/μL
***Only need to do a subset to make sure quantiy and size range is good.
Pool Samples
1. Pool samples into one tube in equimolar concentrations. The pooled library should have 20 μL at concentration of
2 nM to 50 nM, which is 0.5 ng/μL to13ng/μLfor DNA ~ 500 bp.
Size Select >>> See lab protocol for size-selcting using Pippin.
***Pool volume must be 40μL in TE Buffer
Reduce Volume to 20μL >>> See lab protocol for using SpeedVac.
Quantify >>> See lab protocol for measuring concentration using BioAnalyzer.
***Only need to do a subset to make sure quantiy and size range is good.
!!!SEND OFF FOR SEQUENCING! YAY!!!
;